11307 Luxmanor Lane Building Specifications

GENERAL DESCRIPTIONS

EXTERIOR

Painted Hardi-Plank cedar shake style siding

Stone to Grade on front and sides, also Partial Front

Painted PVC Columns and stone combination

Front Porch with Flagstone on Concrete

Sherwin-Williams Exterior Latex Satin Finish Paint to Cover on Wood and Trim Surfaces

Certainteed Fiberglass Roof Shingles (Architectural Grade)

(30 Year Manufacturers Warranty)

Other Exterior Trim to Be Painted Wood, and Painted PVC

Hose Bibs (Front, Rear and in garage)

Weatherproof Electrical Outlets (1 Front & 2 Rear)

Custom Mahogany Wood Front Door

Professionally Installed Builders Landscape Package (Front only)

3 Doorbells

10 Wall Mounted Lights at all Exterior Doors (Progress P.5637.86 or Seagull Equivalent)

Asphalt Driveway

Flagstone on concrete Lead Walk

Seeded Yard

INTERIOR

10’ First Floor Ceilings

9’ Second Floor Ceilings

9 Basement Ceilings

Sherwin-Williams White Shadow Interior Latex Paint on Walls 2 Coats

Sherwin-Williams Shell White Latex Semi-Gloss on Doors and Trim to Cover

Electrical Outlets per County Code

400 Amp Main Electrical Service

1 1/2" Water Supply Line To House

CPVC Water Lines throughout House

Hard Wired Security System

3" Passive Radon Mitigation System from Basement Slab through Roof

PVC/DWV Plastic Vent and Waste Lines

Electronic Smoke Detectors on Each Level and In All Bedrooms

Jeldwen Wood Windows with Simulated Divided Light Glass and Screens

R-30 Insulation in Ceiling Attic Areas and Vaulted or Cathedral Ceiling

R-19 Insulation in Exterior Wood Frame Walls

R-11 Insulation in Basement against Concrete Exterior Walls

R-19 Insulation Stapled to interior gable end knee wall, backed by unconditioned space

Sprinkler system to code

R-30 Insulation in All Overhangs and Garage Ceilings (Under Living Areas)

soffit vent installed at eves for Proper Ventilation

Air Seal; Caulk Bottom Plate Corners, Between Top Plates and Headers on Exterior Walls

14" TJI Floor Joist with _" Tongue And Groove Advantec Sub floor 1st Floor

14" TJI Floor Joist With _" Tongue And Groove Advantec Sub floor 2nd Floor

Attic Floor created with Room Trusses with _" Tongue and Groove Advantec Sub Floor

All Floors Will Be Glued and Nailed

Central vac. System

Trim Package:

Base Molding: 1st Floor ACM1223 _ x 7 _ Custom Poplar

2nd Floor WM163E 11/16 x 5 _" Primed Pine

Window Trim: WM97 1 1/16 x 3 _" Adams Casing Primed Pine

WM1021 11/16 x 5 _" Stool Primed Pine

WM97 "Adams" Apron

Door Trim: WM97 1 1/16 x 3 _" Adams Casing Primed Pine

ACM1205 1 _ x 3 _ Adams Plinth at intersection of door,

Casing and base molding, clear poplar

Crown Molding: 1st Floor ACM1590

(2 piece) 7 5/8" Cove Crown, clear Poplar with WM753 9/16 x 3 _"

Beaded Backer on wall, Primed Pine

2nd Floor: WM47 4 5/8"

(2 piece) Crown, primed pine with WM753 3 _" backer on         wall, primed pine

Chair Rail: WM300 1 1/16 x 3" primed pine on WM956ww 4 _" backer, (2 piece)    primed pine

Interior Doors: Solid Core, smooth skin

4-Panel Masonite (raised panel),

Pre-hung with oil rubbed bronze

Plate radius corner hinges

Door hardware-Schlage, St Anne oil rubbed bronze levers

STAIRWAY & HANDRAILS

FOYER

Oak tread and Paint risers

Combination Oak and metal balusters and oak Hand Rails

BASEMENT

Oak treads and Painted risers

Oak Stain and Painted Railings

DESCRIPTION OF MAIN LEVEL

FOYER

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

4 Recessed Light(s) Lightolier 1176

Coat Closet

Progress P3686 91C Pendant or Seagull Equivalent

FIRST FLOOR POWDER ROOM

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

Kohler or Mirabelle Commode K3429 Elongated White

Faucet Kohler K310-4P (see spec sheet)

Kohler or Mirabelle Sink K-2258-8 White

3 Recessed Light(s) by Lightolier 1176

CP toilet paper holder

CP towel bar

Ceiling vent fan

Ground fault interrupter switch

LIVING ROOM

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

4 Recessed Light(s) Lightolier 1176

DINING ROOM

Sand in Place Strip Flooring 3 _" #1 Common or Better

6 Recessed Light(s) Lightolier 1176

Hanging Fixture Progress P4202-91C or Seagull Equivalent)

2 pocket style glass French doors

KITCHEN/BREAKFAST

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

13 Recessed Light Model Lightolier 1176

Custom Cabinets: Decora semi custom painted cabinets and Maple stained island

3 Hanging Lights over Island Progress P5063-87

APPLIANCE PACKAGE

| item | Description |
| --- | --- |
| KBFO42FTX | LF BRAL 42 BM STD TRIM W/ FLTR REFR |
|  | KITCHEN AID 42" WIDE FRENCH DOOR |
| KKEBS208SSS | ARCHITECT II SER DBL OVEN T |
|  | KITCHEN AID 30" WIDE DOUBLE OVEN |
|  | CONVECTION- GLIDE OUT RACKS - |
|  | TEMP PROBE- BLUE INTERIOR |
| VVGRT4216BSS | 42"W RNGTP - 6 BURNER *SS* |
|  | VIKING 42" RANGETOP 6 BURNERS |
| VT42TIISS | *1108 *CVR* 42"W VGRT ISLAND TRIM - |
|  | ISLAND TRIM KIT |
| BPK2238 | *CVR* BEST PK22 38N |
|  | BEST HOOD INSERT |
| KKCMS1555SSS | MWAVE OVEN FULL SZ 1.5 SNSR |
|  | KITCHEN AID 1.5 CUFT MICROWAVE |
|  | STAINLESS STEEL FITS INTO 18" DEEP |
| KMK1150XVS | 30 TRIM KIT F MWAVE 1.5 CU FT LINE |
| KKUDE60FVSS | 5 CYC 6 OPT FULLY INTEG CONS |
|  | KITCHEN AID 24" WIDE D/W HIDDEN |
|  | CONTROLS 42 DB (2 DW units in plan) |

Refrigerator Includes Standard Ice Maker

(2) 3/4 Horse Power Garbage Disposal(s)

Sinks to be France FPX120-LH

Faucets to be Grohe G33-939 or Mirabelle equivalent

Walk in Pantry with Wood Shelving

Light in Pantry to be recessed Lightolier 1176

Prewired For Telephone

Hanging Light Fixture Breakfast Area Progress 3777-773 or Seagull Equivalent)

Granite Countertops, Breakfast Bar

Tile backsplash in kitchen (allowance of $6.00 per sq. Ft.)

Install wall mounted Kohler Spray Faucet next to Cook Top

FAMILY ROOM

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

6 Light-O-Lier Recessed Light 1176

Prewired Cable for One Television

Prewired for One Telephone

42" Heat & Glow 6000 Direct vent Fireplace with wood painted mantle and

Wall switch

STUDY

Sand in Place Oak Strip Flooring 3 _" #1 Common or Better

6 Recessed Light(s) Lightolier 1176

French Glass Doors painted

MUDROOM

12x12 Ceramic Tile allowance of $6.00 per sq. ft.

Closet with Shelf and Pole

Light Fixture to be Progress P3799-77 or Seagull Equivalent)

Paint Grade Bench and Shelves

MUDROOM BATH

Ceiling vent fan

Single bowl or Double Bowl (Per Plan) white corian with integral bowl on

Bedroom level and white corian attic and basement Moen Handle #6102

Recessed Light(s) by Lightolier 1176

Trim kit(s): 3 In Shared Bath, 2 in Private Bath, and 2 in Basement Bath

Decora Base Vanity Cabinets (sizes per plan)

42" Tall Mirrors above Vanities

Ceramic Tile Floors (allowance of $5.00 sq. ft.)

Chrome towel bar

Chrome paper holder

Lavy Faucet K394-1

Commode K3457 Elongated White Commode or Mirabelle equivalent

Lights to be Progress P3008-43-2 or Seagull Equivalent)

GARAGE

3 Switched Progress MDB-40-240E 2-Bulb Florescent Lights

3 Clopay Garage doors with Openers and exterior key pad

DESCRIPTION OF BEDROOM LEVEL

AND SECOND FLOOR HALLWAY

Hardwood Floor to match first floor

8 Recessed Light(s) Lightolier 1176

Linen Closet with Wood Shelving

AUXILIARY BEDROOM BATHS

5’ Kohler K716 White Villager Tub or Mirabelle equivalent

Ceramic tile to be selected by client allowance of $6.00 per sq. ft.

Ceiling vent fan

Single bowl or Double Bowl (Per Plan) white corian with integral bowl on

Bedroom level and white corian attic and basement Moen Handle #6102

Recessed Light(s)  Lightolier 1176

2 in Private Bath, and 2 in Basement Bath

Decora Base Vanity Cabinets (sizes per plan)

42" Tall Mirrors above Vanities

Ceramic Tile Floors (allowance of $5.00 sq. ft.)

Chrome towel bar

Chrome paper holder

Lavy Faucet K394-1

Shower Faucet KT39545

Commode K3457 Elongated White Commode or Mirabelle equivalent

Lights to be Progress P3008-43-2 or Seagull Equivalent)

MASTER BATH DELUXE

Mirabelle whirlpool Tub with Kohler KT314-4M Double Handle Deck Mount

Faucet

Separate Shower, Clear Glass Shower Door with Chrome Frame, Handle,

And Hardware

Ceiling Vent Fan

White Elongated Kohler Toilet K3439 or Mirabelle equivalent

Two Single Bowl Granite top with K2211 Bowls

Adult Height Vanity

(2) Kohler KT314-4M Wide Spread Faucets

2-42" High Mirrors

8 Recessed Lights Lightolier 1176

2- CP Towel Bars

CP Toilet Paper Holder

Separate commode Room with Vent Fan

Lights to be Progress P3009-77 vanity Light or Seagull Equivalent)

MASTER BEDROOM

Natures Ballet 7/16 over rebound pad

Prewired Cable for One Television

Prewired For One Telephone

4 Recessed Lights in Walk-In Closets Light-O-Lier #1176

3 Recessed Light(s) Model Light-o-lear #1176

42" Heat & Glow 6000 Direct vent Fireplace with wood painted mantle and

Wall switch

BEDROOM 2

Shaw Interpretations

Prewired Cable for One Television

Prewired For One Telephone

Closet with TI-SL326-1 Lighting

Surface mounted Lights Progress P3636-87 or Seagull Equivalent)

BEDROOM 3

Shaw Interpretations over rebound pad

Prewired Cable for One Television

Prewired For One Telephone

Closet with TI-SL326-1 Lighting

Surface Mounted Lights Progress P3636-87 or Seagull Equivalent)

BEDROOM 4

Shaw Interpretations over rebound pad

Prewired Cable One Television

Prewired For One Telephone

Closet with TI-SL326-1 Lighting

Surface Mounted Lights or Seagull Equivalent)

LAUNDRY ROOM

12x12 Ceramic Tile allowance of $6.00 per sq ft

Laundry Sink Kohler L65-80

Washer Dryer connections

110 VAC Outlet

220 VAC Amp Outlet

Hot and Cold Water Connection

Washer Drain Connection

4" Dryer Exhaust Vent

Light Fixture to be Progress P7186-30EB or Seagull Equivalent)

READING ROOM

Carpet to match bedrooms

4 Recessed Light(s) Model Lightolier 1176

Built ins to be priced at a later date

DESCRIPTION OF Area above Garage

Bonus Room

Shaw Interpretations carpet over rebound padding

Prewired Cable for One Television

Prewired For One Telephone

6 Recessed Light(s) Lightolier 1176

BATHROOM

Same as Auxiliary Baths

MECHANICAL AREA

Gas Fired Forced Air Furnace

Porcelain Fixtures AM-LH-1P

Finishing of lower level will be priced separately

DESCRIPTION OF LOWER LEVEL

STAIRS DOWN

Stained and painted stairs combination

2 Recessed Light(s) Light-O-Lier#1176

Trim Kit(s)

LOWER LEVEL RECREATION ROOM

8 Recessed Light(s) Lightolier 1176

Prewired Cable for One Television

Prewired For One Telephone

42" Heat & Glow 6000 Direct vent Fireplace with wood painted mantle and

Wall switch

Shaw Interpretations carpet over rebound padding

LOWER LEVEL BEDROOM

Shaw Interpretations carpet over rebound padding

1 Recessed Light(s) Lightolier 1176

Trim Kit(s)

Prewired Cable for One Television

Prewired For One Telephone

LOWER LEVEL BATHROOMS

Same as Auxiliary Baths

EXERCISE, STYDY AND MEDIA ROOM

Shaw Interpretations carpet over rebound padding

1 Recessed Light(s) Lightolier 1176

Trim Kit(s)

Prewired Cable for One Television

Prewired For One Telephone

WETBAR

Install Decora cabinets as per plan

Install under cabinet refrigerator

Install level 2 granite top

Install Kohler wet-bar sink and faucet

MECHANICAL AND STORAGE AREAS

Unfinished area

2 Gas Fired Forced Air Furnace vented through the wall

Separate Outside Air Conditioning Units

2-

Navien tankless water heaters

Porcelain Fixture(s) AM-LH-1P

Sump pump and radon to code

Lower level Pricing Options

Bedroom ………………	$8,820.00

Bathroom………..…….	$12,550.00

Recreation Room…..….	$41,620.00 Includes Fireplace and wetbar

Media Room………..…	$10,825.00

Exercise Room……..….	$7,450.00